## 500C_5mm_coated+swapped+dewar
Time (min) | Time (h) | Sweep gas flow rate N2 equivalent (std. ml/min) | Sweep gas flow rate Ar equivalent (std. ml/min) | Sweep gas flow rate Q (std. m3/s) | Temp of sweep gas for standard condition (DegC) | Temp of sweep gas for standard condition, T (K) | Pressure of sweep gas for standard condition (kPa-a) | Pressure of sweep gas for standard condition, P (Pa) | mol/s for sweep gas (n) | Measured D2 PPM by GC | Mole fraction of D2 in Ar (C) | Area of layer, A (m2) | Measured permeation flux J (mol/m2-s) | Thickness of Ni membrane, LNi (m) | Avg. 1D Permeability of Ni membrane at 500C for D2 (estimated using H2 permeability and classical theory factor of 1.414) ØNi (mol/m.s.Pa^0.5) | Upstream volume total pressure (bar-g) | Upstream volume D2 pressure due to partial Ar displacement through dilution purging Pup(Pa) | Thickness of salt layer at 500C, LFLiBe (m) | Downstream total pressure (bar-g) | Downstream total pressure (Pa) | Downstream D2 pressure Pdown, Ni (Pa) | Pressure at Ni-salt interface (Pa) | 1D Permeability, Ø1D = Jeff.LFLiBe/(Pup - Pinterface) (mol/m.s.Pa) | 1D Permeability, Ø1D = Jeff.LFLiBe/(Pinterface - Pdown) (D2/m.s.Pa)
0 | 0 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 16.1662 | 1.6166e-05 | 0.0047763 | 6.8116e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.7783 | 31.5151 | 2.6732e-15 | 1609810192.4946
3 | 0.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 9.2648 | 9.2648e-06 | 0.0047763 | 3.9037e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.0191 | 11.9892 | 1.5318e-15 | 922438833.9144
6 | 0.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 10.1099 | 1.011e-05 | 0.0047763 | 4.2598e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.1121 | 13.9228 | 1.6715e-15 | 1006592230.5234
9 | 0.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 5.4056 | 5.4056e-06 | 0.0047763 | 2.2777e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 0.59462 | 4.8504 | 8.9368e-16 | 538176848.2241
12 | 0.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 24.7577 | 2.4758e-05 | 0.0047763 | 1.0432e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 2.7234 | 67.3277 | 4.095e-15 | 2466020508.7037
15 | 0.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 10.1944 | 1.0194e-05 | 0.0047763 | 4.2954e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.1214 | 14.1234 | 1.6855e-15 | 1015007762.2793
18 | 0.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 5.3493 | 5.3493e-06 | 0.0047763 | 2.2539e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 0.58842 | 4.7673 | 8.8437e-16 | 532567580.2624
21 | 0.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 5.7155 | 5.7155e-06 | 0.0047763 | 2.4082e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 0.6287 | 5.3185 | 9.4492e-16 | 569027997.6202
24 | 0.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 13.3211 | 1.3321e-05 | 0.0047763 | 5.6128e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.4653 | 22.4442 | 2.2026e-15 | 1326409683.1349
27 | 0.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 10.7859 | 1.0786e-05 | 0.0047763 | 4.5446e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.1865 | 15.5632 | 1.7833e-15 | 1073917502.9516
30 | 0.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 13.7718 | 1.3772e-05 | 0.0047763 | 5.8027e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.5149 | 23.7868 | 2.2772e-15 | 1371301208.4581
33 | 0.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 5.7437 | 5.7437e-06 | 0.0047763 | 2.4201e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 0.6318 | 5.362 | 9.4957e-16 | 571832662.5682
36 | 0.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 4.9268 | 4.9268e-06 | 0.0047763 | 2.0759e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 0.54194 | 4.1641 | 8.1451e-16 | 490498372.3101
39 | 0.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 13.0676 | 1.3068e-05 | 0.0047763 | 5.506e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.4374 | 21.7047 | 2.1607e-15 | 1301158760.842
42 | 0.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 15.462 | 1.5462e-05 | 0.0047763 | 6.5149e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 1.7008 | 29.1385 | 2.5567e-15 | 1539656351.5047
45 | 0.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 20.6451 | 2.0645e-05 | 0.0047763 | 8.6988e-08 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 2.271 | 48.6248 | 3.4143e-15 | 2056079530.7687
48 | 0.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 28.9268 | 2.8927e-05 | 0.0047763 | 1.2188e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 3.1819 | 89.1648 | 4.7854e-15 | 2881760019.4943
51 | 0.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 29.6592 | 2.9659e-05 | 0.0047763 | 1.2497e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 3.2625 | 93.2976 | 4.9067e-15 | 2954816355.9204
54 | 0.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 31.3775 | 3.1377e-05 | 0.0047763 | 1.3221e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 3.4515 | 103.3397 | 5.1914e-15 | 3126244128.9836
57 | 0.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 34.5324 | 3.4532e-05 | 0.0047763 | 1.455e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 3.7986 | 123.0347 | 5.7142e-15 | 3441098310.33
60 | 1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 42.2225 | 4.2223e-05 | 0.0047763 | 1.779e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.6445 | 177.8044 | 6.9897e-15 | 4209170104.9261
63 | 1.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 40.0817 | 4.0082e-05 | 0.0047763 | 1.6888e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.409 | 161.5988 | 6.6344e-15 | 3995254068.1055
66 | 1.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 39.5465 | 3.9546e-05 | 0.0047763 | 1.6663e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.3501 | 157.6627 | 6.5456e-15 | 3941786809.2164
69 | 1.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 43.9972 | 4.3997e-05 | 0.0047763 | 1.8538e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.8397 | 191.7955 | 7.2842e-15 | 4386554120.0978
72 | 1.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 41.8282 | 4.1828e-05 | 0.0047763 | 1.7624e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.6011 | 174.7638 | 6.9242e-15 | 4169758773.4425
75 | 1.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 41.0676 | 4.1068e-05 | 0.0047763 | 1.7304e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.5174 | 168.9704 | 6.798e-15 | 4093758585.8423
78 | 1.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 49.0113 | 4.9011e-05 | 0.0047763 | 2.0651e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 5.3912 | 234.0464 | 8.117e-15 | 4888041161.6471
81 | 1.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 42.4761 | 4.2476e-05 | 0.0047763 | 1.7897e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 4.6724 | 179.7722 | 7.0317e-15 | 4234507354.9308
84 | 1.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 49.7718 | 4.9772e-05 | 0.0047763 | 2.0971e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 5.4749 | 240.8051 | 8.2434e-15 | 4964151009.098
87 | 1.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 46.9549 | 4.6955e-05 | 0.0047763 | 1.9784e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 5.165 | 216.2338 | 7.7754e-15 | 4682318569.031
90 | 1.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 50.3915 | 5.0392e-05 | 0.0047763 | 2.1232e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 5.5431 | 246.3801 | 8.3464e-15 | 5026174870.0547
93 | 1.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 55.5183 | 5.5518e-05 | 0.0047763 | 2.3393e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.107 | 294.8354 | 9.1989e-15 | 5539583240.8413
96 | 1.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 54.6451 | 5.4645e-05 | 0.0047763 | 2.3025e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.011 | 286.2882 | 9.0536e-15 | 5452095411.0252
99 | 1.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 56.5324 | 5.6532e-05 | 0.0047763 | 2.382e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.2186 | 304.9123 | 9.3677e-15 | 5641202892.4211
102 | 1.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 57.293 | 5.7293e-05 | 0.0047763 | 2.414e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.3022 | 312.5764 | 9.4942e-15 | 5717432572.4073
105 | 1.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 61.5183 | 6.1518e-05 | 0.0047763 | 2.5921e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.767 | 356.8132 | 1.0198e-14 | 6141171615.4746
108 | 1.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 60.2225 | 6.0223e-05 | 0.0047763 | 2.5375e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.6245 | 342.9487 | 9.982e-15 | 6011180739.1464
111 | 1.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 67.2085 | 6.7208e-05 | 0.0047763 | 2.8318e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.3929 | 420.8126 | 1.1147e-14 | 6712488073.6397
114 | 1.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 63.293 | 6.3293e-05 | 0.0047763 | 2.6668e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.9622 | 376.2291 | 1.0494e-14 | 6319268064.0753
117 | 1.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 58.6169 | 5.8617e-05 | 0.0047763 | 2.4698e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.4479 | 326.1351 | 9.7146e-15 | 5850159747.036
120 | 2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 64.3634 | 6.4363e-05 | 0.0047763 | 2.7119e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.08 | 388.179 | 1.0672e-14 | 6426728667.2924
123 | 2.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 66.3915 | 6.6392e-05 | 0.0047763 | 2.7974e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.3031 | 411.313 | 1.101e-14 | 6630417147.201
126 | 2.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 56.1944 | 5.6194e-05 | 0.0047763 | 2.3677e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.1814 | 301.5353 | 9.3114e-15 | 5607327160.5994
129 | 2.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 61.9408 | 6.1941e-05 | 0.0047763 | 2.6099e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.8135 | 361.3912 | 1.0268e-14 | 6183568608.6569
132 | 2.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 64.4479 | 6.4448e-05 | 0.0047763 | 2.7155e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.0893 | 389.1301 | 1.0686e-14 | 6435213613.2872
135 | 2.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 60.1944 | 6.0194e-05 | 0.0047763 | 2.5363e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 6.6214 | 342.6503 | 9.9773e-15 | 6008355291.6422
138 | 2.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 67.969 | 6.7969e-05 | 0.0047763 | 2.8639e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.4766 | 429.7509 | 1.1274e-14 | 6788914545.6014
141 | 2.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 73.7155 | 7.3715e-05 | 0.0047763 | 3.106e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.1087 | 500.2007 | 1.2233e-14 | 7366862005.2319
144 | 2.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 73.7437 | 7.3744e-05 | 0.0047763 | 3.1072e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.1118 | 500.5587 | 1.2238e-14 | 7369697333.3268
147 | 2.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 69.4901 | 6.949e-05 | 0.0047763 | 2.928e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.6439 | 447.8983 | 1.1527e-14 | 6941813293.535
150 | 2.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 72.6451 | 7.2645e-05 | 0.0047763 | 3.0609e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.991 | 486.6878 | 1.2054e-14 | 7259136152.0605
153 | 2.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 70.7577 | 7.0758e-05 | 0.0047763 | 2.9814e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.7834 | 463.297 | 1.1739e-14 | 7069276325.5008
156 | 2.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.1662 | 7.4166e-05 | 0.0047763 | 3.125e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.1583 | 505.9436 | 1.2309e-14 | 7412229962.8394
159 | 2.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 68.1662 | 6.8166e-05 | 0.0047763 | 2.8722e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.4983 | 432.0829 | 1.1306e-14 | 6808731293.3461
162 | 2.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 78.9831 | 7.8983e-05 | 0.0047763 | 3.3279e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.6881 | 569.2926 | 1.3114e-14 | 7897468861.9384
165 | 2.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 69.5183 | 6.9518e-05 | 0.0047763 | 2.9291e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.647 | 448.2378 | 1.1532e-14 | 6944645333.8608
168 | 2.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.7014 | 7.4701e-05 | 0.0047763 | 3.1475e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.2172 | 512.8044 | 1.2398e-14 | 7466111946.686
171 | 2.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 77.6028 | 7.7603e-05 | 0.0047763 | 3.2698e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.5363 | 550.7718 | 1.2883e-14 | 7758353726.8423
174 | 2.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 68.7577 | 6.8758e-05 | 0.0047763 | 2.8971e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.5634 | 439.1156 | 1.1405e-14 | 6868187700.3825
177 | 2.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.293 | 7.9293e-05 | 0.0047763 | 3.341e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7222 | 573.4909 | 1.3166e-14 | 7928706688.749
180 | 3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 77.9972 | 7.7997e-05 | 0.0047763 | 3.2864e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.5797 | 556.0333 | 1.2949e-14 | 7798095074.7322
183 | 3.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 81.4901 | 8.149e-05 | 0.0047763 | 3.4336e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.9639 | 603.6876 | 1.3534e-14 | 8150295653.4085
186 | 3.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.6451 | 7.4645e-05 | 0.0047763 | 3.1452e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.211 | 512.0802 | 1.2389e-14 | 7460439772.1913
189 | 3.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 68.6169 | 6.8617e-05 | 0.0047763 | 2.8912e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.5479 | 437.4362 | 1.1382e-14 | 6854030571.9011
192 | 3.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 70.5042 | 7.0504e-05 | 0.0047763 | 2.9707e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.7555 | 460.1972 | 1.1697e-14 | 7043780231.8974
195 | 3.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 71.8282 | 7.1828e-05 | 0.0047763 | 3.0265e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.9011 | 476.4953 | 1.1918e-14 | 7176945921.075
198 | 3.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 75.0676 | 7.5068e-05 | 0.0047763 | 3.163e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.2574 | 517.5243 | 1.2459e-14 | 7502983307.2892
201 | 3.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.4901 | 7.949e-05 | 0.0047763 | 3.3493e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7439 | 576.1703 | 1.3199e-14 | 7948586825.1318
204 | 3.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 71.9127 | 7.1913e-05 | 0.0047763 | 3.03e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.9104 | 477.5449 | 1.1932e-14 | 7185447498.2118
207 | 3.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 81.5746 | 8.1575e-05 | 0.0047763 | 3.4371e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.9732 | 604.8639 | 1.3548e-14 | 8158821289.6389
210 | 3.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 77.0394 | 7.7039e-05 | 0.0047763 | 3.246e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.4743 | 543.2972 | 1.2789e-14 | 7701588404.8248
213 | 3.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 75.0113 | 7.5011e-05 | 0.0047763 | 3.1606e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.2512 | 516.7968 | 1.245e-14 | 7497310538.7049
216 | 3.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.5324 | 8.0532e-05 | 0.0047763 | 3.3932e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.8586 | 590.433 | 1.3374e-14 | 8053687297.7969
219 | 3.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 73.7155 | 7.3715e-05 | 0.0047763 | 3.106e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.1087 | 500.2007 | 1.2233e-14 | 7366862005.2319
222 | 3.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 72.138 | 7.2138e-05 | 0.0047763 | 3.0395e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.9352 | 480.3492 | 1.197e-14 | 7208119339.3184
225 | 3.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.8141 | 7.4814e-05 | 0.0047763 | 3.1523e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.2295 | 514.2545 | 1.2417e-14 | 7477456569.4007
228 | 3.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.5465 | 7.9546e-05 | 0.0047763 | 3.3517e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7501 | 576.937 | 1.3209e-14 | 7954267081.6314
231 | 3.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 75.5746 | 7.5575e-05 | 0.0047763 | 3.1843e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.3132 | 524.094 | 1.2544e-14 | 7554042356.193
234 | 3.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 72.8986 | 7.2899e-05 | 0.0047763 | 3.0716e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.0188 | 489.8721 | 1.2097e-14 | 7284647254.4602
237 | 3.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 76.6451 | 7.6645e-05 | 0.0047763 | 3.2294e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.431 | 538.0944 | 1.2723e-14 | 7661858271.0014
240 | 4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 71.8845 | 7.1885e-05 | 0.0047763 | 3.0288e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.9073 | 477.1949 | 1.1927e-14 | 7182613617.1736
243 | 4.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.2366 | 7.9237e-05 | 0.0047763 | 3.3386e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.716 | 572.7265 | 1.3157e-14 | 7923026867.0476
246 | 4.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.1239 | 7.9124e-05 | 0.0047763 | 3.3339e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7036 | 571.1991 | 1.3138e-14 | 7911667512.9096
249 | 4.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.6732 | 7.4673e-05 | 0.0047763 | 3.1463e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.2141 | 512.4422 | 1.2393e-14 | 7463275848.0402
252 | 4.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.8704 | 8.087e-05 | 0.0047763 | 3.4075e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.8957 | 595.0949 | 1.343e-14 | 8087781116.0943
255 | 4.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.7577 | 8.0758e-05 | 0.0047763 | 3.4027e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.8834 | 593.5389 | 1.3412e-14 | 8076416117.3779
258 | 4.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 77.293 | 7.7293e-05 | 0.0047763 | 3.2567e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.5022 | 546.6547 | 1.2832e-14 | 7727131633.6981
261 | 4.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 85.8 | 8.58e-05 | 0.0047763 | 3.6152e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.438 | 665.0893 | 1.4257e-14 | 8585392084.087
264 | 4.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 86.2789 | 8.6279e-05 | 0.0047763 | 3.6353e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.4907 | 672.0889 | 1.4337e-14 | 8633773177.1503
267 | 4.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 85.4056 | 8.5406e-05 | 0.0047763 | 3.5986e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.3946 | 659.3515 | 1.4191e-14 | 8545554476.0569
270 | 4.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 75.969 | 7.5969e-05 | 0.0047763 | 3.2009e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.3566 | 529.2313 | 1.261e-14 | 7593760111.9631
273 | 4.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 77.1803 | 7.718e-05 | 0.0047763 | 3.252e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.4898 | 545.1613 | 1.2813e-14 | 7715778852.3752
276 | 4.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.6592 | 7.9659e-05 | 0.0047763 | 3.3564e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7625 | 578.4717 | 1.3228e-14 | 7965627885.097
279 | 4.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 84.5324 | 8.4532e-05 | 0.0047763 | 3.5618e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.2986 | 646.7319 | 1.4044e-14 | 8457360657.145
282 | 4.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 84.3352 | 8.4335e-05 | 0.0047763 | 3.5535e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.2769 | 643.8986 | 1.4011e-14 | 8437449342.5533
285 | 4.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 78.3915 | 7.8392e-05 | 0.0047763 | 3.303e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.6231 | 561.3189 | 1.3015e-14 | 7837841078.341
288 | 4.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 83.3775 | 8.3377e-05 | 0.0047763 | 3.5131e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.1715 | 630.2225 | 1.385e-14 | 8340755022.9926
291 | 4.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 78.9831 | 7.8983e-05 | 0.0047763 | 3.3279e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.6881 | 569.2926 | 1.3114e-14 | 7897468861.9384
294 | 4.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 83.5183 | 8.3518e-05 | 0.0047763 | 3.519e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.187 | 632.2248 | 1.3874e-14 | 8354972933.5374
297 | 4.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.1944 | 7.4194e-05 | 0.0047763 | 3.1262e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.1614 | 506.3036 | 1.2313e-14 | 7415065652.3801
300 | 5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 75.5465 | 7.5546e-05 | 0.0047763 | 3.1831e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.3101 | 523.7279 | 1.2539e-14 | 7551205546.8233
303 | 5.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 82.6451 | 8.2645e-05 | 0.0047763 | 3.4822e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.091 | 619.8599 | 1.3728e-14 | 8266832063.3877
306 | 5.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.1944 | 8.0194e-05 | 0.0047763 | 3.379e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.8214 | 585.7888 | 1.3317e-14 | 8019597005.2547
309 | 5.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 72.3634 | 7.2363e-05 | 0.0047763 | 3.049e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 7.96 | 483.1614 | 1.2007e-14 | 7230792592.7842
312 | 5.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.5887 | 8.0589e-05 | 0.0047763 | 3.3956e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.8648 | 591.2087 | 1.3383e-14 | 8059369355.6232
315 | 5.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 78.0817 | 7.8082e-05 | 0.0047763 | 3.29e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.589 | 557.1639 | 1.2963e-14 | 7806611682.8113
318 | 5.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 82.4479 | 8.2448e-05 | 0.0047763 | 3.4739e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.0693 | 617.0842 | 1.3695e-14 | 8246932632.4318
321 | 5.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.6028 | 7.9603e-05 | 0.0047763 | 3.3541e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7563 | 577.7041 | 1.3218e-14 | 7959947434.9314
324 | 5.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.6169 | 8.0617e-05 | 0.0047763 | 3.3968e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.8679 | 591.5968 | 1.3388e-14 | 8062210421.2833
327 | 5.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 79.9972 | 7.9997e-05 | 0.0047763 | 3.3707e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.7997 | 583.0879 | 1.3284e-14 | 7999712623.9025
330 | 5.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 89.462 | 8.9462e-05 | 0.0047763 | 3.7695e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.8408 | 719.515 | 1.4871e-14 | 8955559098.1563
333 | 5.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 86.6169 | 8.6617e-05 | 0.0047763 | 3.6496e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.5279 | 677.0511 | 1.4394e-14 | 8667929083.7594
336 | 5.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 84.0817 | 8.4082e-05 | 0.0047763 | 3.5428e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.249 | 640.2647 | 1.3969e-14 | 8411850922.4797
339 | 5.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 80.9549 | 8.0955e-05 | 0.0047763 | 3.411e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 8.905 | 596.2631 | 1.3445e-14 | 8096305123.2133
342 | 5.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 82.9831 | 8.2983e-05 | 0.0047763 | 3.4965e-07 | 0.002032 | 3.2337e-11 | 0.31 | 131000 | 0.0051399 | 0.1 | 110000 | 9.1281 | 624.6323 | 1.3784e-14 | 8300948235.8736
[23 empty] | 1.307e-14 | 7870920127.0367

## 600C_5mm_coated+swapped+dewar
Time (min) | Time (h) | Sweep gas flow rate N2 equivalent (std. ml/min) | Sweep gas flow rate Ar equivalent (std. ml/min) | Sweep gas flow rate Q (std. m3/s) | Temp of sweep gas for standard condition (DegC) | Temp of sweep gas for standard condition, T (K) | Pressure of sweep gas for standard condition (kPa-a) | Pressure of sweep gas for standard condition, P (Pa) | mol/s for sweep gas (n) | Measured D2 PPM by GC | Mole fraction of D2 in Ar (C) | Area of layer, A (m2) | Measured permeation flux J (mol/m2-s) | Thickness of Ni membrane, LNi (m) | Avg. 1D Permeability of Ni membrane at 600C for D2 (estimated using H2 permeability and classical theory factor of 1.414) ØNi (mol/m.s.Pa^0.5) | Upstream volume total pressure (bar-g) | Upstream volume D2 pressure due to partial Ar displacement through dilution purging Pup(Pa) | Thickness of salt layer at 600C, LFLiBe (m) | Downstream total pressure (bar-g) | Downstream total pressure (Pa) | Downstream D2 pressure Pdown, Ni (Pa) | Pressure at Ni-salt interface (Pa) | 1D Permeability, Ø1D = Jeff.LFLiBe/(Pup - Pinterface) (mol/m.s.Pa) | 1D Permeability, Ø1D = Jeff.LFLiBe/(Pinterface - Pdown) (D2/m.s.Pa)
0 | 0 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 16.9831 | 1.6983e-05 | 0.0047763 | 7.1558e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.9191 | 11.0905 | 2.8245e-15 | 1700938022.7358
3 | 0.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 10.3915 | 1.0392e-05 | 0.0047763 | 4.3785e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.1742 | 5.1696 | 1.7282e-15 | 1040716705.1112
6 | 0.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 13.6873 | 1.3687e-05 | 0.0047763 | 5.7671e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.5467 | 7.9025 | 2.2763e-15 | 1370817670.1417
9 | 0.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 14.1099 | 1.411e-05 | 0.0047763 | 5.9452e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.5944 | 8.2863 | 2.3466e-15 | 1413139642.1172
12 | 0.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 11.2085 | 1.1208e-05 | 0.0047763 | 4.7227e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.2666 | 5.8034 | 1.8641e-15 | 1122534969.5987
15 | 0.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 15.7437 | 1.5744e-05 | 0.0047763 | 6.6336e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.779 | 9.8395 | 2.6184e-15 | 1576787722.6894
18 | 0.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 14.0254 | 1.4025e-05 | 0.0047763 | 5.9096e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 1.5849 | 8.2089 | 2.3326e-15 | 1404675221.8944
21 | 0.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 19.9972 | 1.9997e-05 | 0.0047763 | 8.4258e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 2.2597 | 14.3894 | 3.3259e-15 | 2002862590.165
24 | 0.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 21.9127 | 2.1913e-05 | 0.0047763 | 9.2329e-08 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 2.4761 | 16.6713 | 3.6446e-15 | 2194750730.514
27 | 0.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 26.8986 | 2.6899e-05 | 0.0047763 | 1.1334e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 3.0395 | 23.27 | 4.474e-15 | 2694268506.2433
30 | 0.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 40.0535 | 4.0054e-05 | 0.0047763 | 1.6877e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 4.526 | 45.0838 | 6.6632e-15 | 4012576117.517
33 | 0.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 51.7437 | 5.1744e-05 | 0.0047763 | 2.1802e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 5.847 | 69.6196 | 8.6095e-15 | 5184655408.9164
36 | 0.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 59.9972 | 5.9997e-05 | 0.0047763 | 2.528e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 6.7797 | 89.7711 | 9.9843e-15 | 6012560202.1553
39 | 0.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 74.4197 | 7.442e-05 | 0.0047763 | 3.1357e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 8.4094 | 130.4752 | 1.2388e-14 | 7460185445.4327
42 | 0.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 87.2085 | 8.7208e-05 | 0.0047763 | 3.6745e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 9.8546 | 172.3038 | 1.4522e-14 | 8744941616.8373
45 | 0.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 91.293 | 9.1293e-05 | 0.0047763 | 3.8466e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 10.3161 | 186.7839 | 1.5203e-14 | 9155518993.1829
48 | 0.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 113.293 | 0.00011329 | 0.0047763 | 4.7736e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 12.8021 | 273.9853 | 1.888e-14 | 11369303091.3304
51 | 0.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 118.3634 | 0.00011836 | 0.0047763 | 4.9872e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 13.3751 | 296.2655 | 1.9728e-14 | 11880130143.0904
54 | 0.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 130.5324 | 0.00013053 | 0.0047763 | 5.5e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 14.7502 | 353.0409 | 2.1765e-14 | 13107141545.4741
57 | 0.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 137.7718 | 0.00013777 | 0.0047763 | 5.805e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 15.5682 | 389.0172 | 2.2979e-14 | 13837827739.0815
60 | 1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 143.9127 | 0.00014391 | 0.0047763 | 6.0637e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 16.2621 | 420.8141 | 2.4009e-14 | 14458082033.2322
63 | 1.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 155.3775 | 0.00015538 | 0.0047763 | 6.5468e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 17.5577 | 483.3083 | 2.5934e-14 | 15617245207.0842
66 | 1.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 154.9549 | 0.00015495 | 0.0047763 | 6.529e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 17.5099 | 480.9329 | 2.5863e-14 | 15574496322.9503
69 | 1.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 159.6592 | 0.00015966 | 0.0047763 | 6.7272e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 18.0415 | 507.6893 | 2.6653e-14 | 16050557995.5518
72 | 1.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 165.6592 | 0.00016566 | 0.0047763 | 6.98e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 18.7195 | 542.8046 | 2.7662e-14 | 16658153882.0911
75 | 1.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 160.2507 | 0.00016025 | 0.0047763 | 6.7521e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 18.1083 | 511.1021 | 2.6753e-14 | 16110441518.3479
78 | 1.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 167.2648 | 0.00016726 | 0.0047763 | 7.0477e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 18.9009 | 552.3893 | 2.7932e-14 | 16820828443.9228
81 | 1.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 174.8704 | 0.00017487 | 0.0047763 | 7.3681e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.7604 | 598.8649 | 2.9213e-14 | 17591854908.6884
84 | 1.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 174.307 | 0.00017431 | 0.0047763 | 7.3444e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.6967 | 595.3615 | 2.9118e-14 | 17534715227.5106
87 | 1.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 173.9408 | 0.00017394 | 0.0047763 | 7.329e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.6553 | 593.0895 | 2.9056e-14 | 17497576744.5846
90 | 1.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 185.6873 | 0.00018569 | 0.0047763 | 7.8239e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.9827 | 668.011 | 3.1036e-14 | 18689789091.1646
93 | 1.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 180.0817 | 0.00018008 | 0.0047763 | 7.5877e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.3492 | 631.7315 | 3.0091e-14 | 18120603330.9678
96 | 1.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 173.5465 | 0.00017355 | 0.0047763 | 7.3124e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.6108 | 590.6473 | 2.899e-14 | 17457583485.852
99 | 1.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 176.5606 | 0.00017656 | 0.0047763 | 7.4394e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.9513 | 609.4334 | 2.9497e-14 | 17763299913.9514
102 | 1.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 174.9268 | 0.00017493 | 0.0047763 | 7.3705e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.7667 | 599.2158 | 2.9222e-14 | 17597569114.1177
105 | 1.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 178.1099 | 0.00017811 | 0.0047763 | 7.5046e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.1264 | 619.1979 | 2.9758e-14 | 17920492269.966
108 | 1.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 182.8423 | 0.00018284 | 0.0047763 | 7.704e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.6612 | 649.478 | 3.0556e-14 | 18400850216.538
111 | 1.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 175.8 | 0.0001758 | 0.0047763 | 7.4073e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.8654 | 604.6668 | 2.9369e-14 | 17686144830.02
114 | 1.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 195.1803 | 0.00019518 | 0.0047763 | 8.2239e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 22.0554 | 731.6315 | 3.2638e-14 | 19654722988.3398
117 | 1.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 189.969 | 0.00018997 | 0.0047763 | 8.0043e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.4665 | 696.367 | 3.1758e-14 | 19124847558.8978
120 | 2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 189.9972 | 0.00019 | 0.0047763 | 8.0055e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.4697 | 696.5554 | 3.1763e-14 | 19127710670.2477
123 | 2.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 187.6873 | 0.00018769 | 0.0047763 | 7.9082e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.2087 | 681.1867 | 3.1373e-14 | 18892974065.3439
126 | 2.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 183.4901 | 0.00018349 | 0.0047763 | 7.7313e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.7344 | 653.6767 | 3.0665e-14 | 18466638034.5288
129 | 2.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 185.7718 | 0.00018577 | 0.0047763 | 7.8275e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.9922 | 668.5652 | 3.105e-14 | 18698373204.7259
132 | 2.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 188.9268 | 0.00018893 | 0.0047763 | 7.9604e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.3487 | 689.4131 | 3.1582e-14 | 19018920610.5158
135 | 2.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 183.8282 | 0.00018383 | 0.0047763 | 7.7456e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.7726 | 655.8724 | 3.0722e-14 | 18500964480.929
138 | 2.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 184.7014 | 0.0001847 | 0.0047763 | 7.7824e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.8713 | 661.5607 | 3.087e-14 | 18589648671.1202
141 | 2.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 192.5887 | 0.00019259 | 0.0047763 | 8.1147e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.7625 | 713.9914 | 3.2201e-14 | 19391166934.3878
144 | 2.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 183.1239 | 0.00018312 | 0.0047763 | 7.7159e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.693 | 651.3019 | 3.0604e-14 | 18429452883.7382
147 | 2.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 193.3211 | 0.00019332 | 0.0047763 | 8.1456e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.8453 | 718.956 | 3.2324e-14 | 19465639997.8915
150 | 2.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 188.6451 | 0.00018865 | 0.0047763 | 7.9485e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.3169 | 687.5394 | 3.1535e-14 | 18990294431.2068
153 | 2.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 189.0394 | 0.00018904 | 0.0047763 | 7.9652e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.3615 | 690.1633 | 3.1601e-14 | 19030371406.5119
156 | 2.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 177.0676 | 0.00017707 | 0.0047763 | 7.4607e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.0086 | 612.621 | 2.9583e-14 | 17814741045.5164
159 | 2.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 183.6592 | 0.00018366 | 0.0047763 | 7.7385e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.7535 | 654.7741 | 3.0694e-14 | 18483801054.5299
162 | 2.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 182.8423 | 0.00018284 | 0.0047763 | 7.704e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.6612 | 649.478 | 3.0556e-14 | 18400850216.538
165 | 2.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 176.7014 | 0.0001767 | 0.0047763 | 7.4453e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.9673 | 610.318 | 2.9521e-14 | 17777588762.8127
168 | 2.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 189.0958 | 0.0001891 | 0.0047763 | 7.9675e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.3678 | 690.5385 | 3.1611e-14 | 19036096874.0475
171 | 2.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 173.8282 | 0.00017383 | 0.0047763 | 7.3242e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 19.6426 | 592.3913 | 2.9037e-14 | 17486149884.5358
174 | 2.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 190.5042 | 0.0001905 | 0.0047763 | 8.0269e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.527 | 699.9507 | 3.1849e-14 | 19179248667.2699
177 | 2.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 180.4479 | 0.00018045 | 0.0047763 | 7.6031e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.3906 | 634.0723 | 3.0152e-14 | 18157772779.6801
180 | 3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 188.7577 | 0.00018876 | 0.0047763 | 7.9533e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.3296 | 688.2886 | 3.1554e-14 | 19001744764.0197
183 | 3.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 185.8845 | 0.00018588 | 0.0047763 | 7.8322e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.0049 | 669.3046 | 3.1069e-14 | 18709818849.1839
186 | 3.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 184.3915 | 0.00018439 | 0.0047763 | 7.7693e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.8362 | 659.5396 | 3.0817e-14 | 18558178841.7362
189 | 3.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 180.1944 | 0.00018019 | 0.0047763 | 7.5925e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.362 | 632.4513 | 3.011e-14 | 18132039884.6675
192 | 3.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 180.0535 | 0.00018005 | 0.0047763 | 7.5865e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.346 | 631.5516 | 3.0086e-14 | 18117744220.2676
195 | 3.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 192.2507 | 0.00019225 | 0.0047763 | 8.1005e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.7243 | 711.7055 | 3.2143e-14 | 19356797441.014
198 | 3.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 181.7437 | 0.00018174 | 0.0047763 | 7.6577e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 20.537 | 642.3878 | 3.0371e-14 | 18289310542.5866
201 | 3.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 187.2366 | 0.00018724 | 0.0047763 | 7.8892e-07 | 0.002032 | 7.4761e-11 | 0.33 | 133000 | 0.0052493 | 0.13 | 113000 | 21.1577 | 678.2069 | 3.1297e-14 | 18847180855.8156
[23 empty] | 3.1038e-14 | 18691026354.0869

## 700C_5 mm_coated+swapped+dewar
Time (min) | Time (h) | Sweep gas flow rate N2 equivalent (std. ml/min) | Sweep gas flow rate Ar equivalent (std. ml/min) | Sweep gas flow rate Q (std. m3/s) | Temp of sweep gas for standard condition (DegC) | Temp of sweep gas for standard condition, T (K) | Pressure of sweep gas for standard condition (kPa-a) | Pressure of sweep gas for standard condition, P (Pa) | mol/s for sweep gas (n) | Measured D2 PPM by GC | Mole fraction of D2 in Ar (C) | Area of layer, A (m2) | Measured permeation flux J (mol/m2-s) | Thickness of Ni membrane, LNi (m) | Avg. 1D Permeability of Ni membrane at 700C for D2 (estimated using H2 permeability and classical theory factor of 1.414) ØNi (mol/m.s.Pa^0.5) | Upstream volume total pressure (bar-g) | Upstream volume D2 pressure due to partial Ar displacement through dilution purging Pup(Pa) | Thickness of salt layer at 700C, LFLiBe (m) | Downstream total pressure (bar-g) | Downstream total pressure (Pa) | Downstream D2 pressure Pdown, Ni (Pa) | Pressure at Ni-salt interface (Pa) | 1D Permeability, Ø1D = Jeff.LFLiBe/(Pup - Pinterface) (mol/m.s.Pa) | 1D Permeability, Ø1D = Jeff.LFLiBe/(Pinterface - Pdown) (D2/m.s.Pa)
0 | 0 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 31.7155 | 3.1715e-05 | 0.0047763 | 1.3363e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.4887 | 14.7876 | 5.472e-15 | 3295236893.8529
3 | 0.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 26.5606 | 2.6561e-05 | 0.0047763 | 1.1191e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 2.9217 | 11.3266 | 4.5825e-15 | 2759567254.6755
6 | 0.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 27.5183 | 2.7518e-05 | 0.0047763 | 1.1595e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.027 | 11.9423 | 4.7477e-15 | 2859087838.7649
9 | 0.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 33.462 | 3.3462e-05 | 0.0047763 | 1.4099e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.6808 | 16.0408 | 5.7734e-15 | 3476729158.8564
12 | 0.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 33.6028 | 3.3603e-05 | 0.0047763 | 1.4159e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.6963 | 16.1437 | 5.7977e-15 | 3491365829.8827
15 | 0.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 32.8986 | 3.2899e-05 | 0.0047763 | 1.3862e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.6188 | 15.6322 | 5.6762e-15 | 3418182772.6256
18 | 0.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 28.9831 | 2.8983e-05 | 0.0047763 | 1.2212e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.1881 | 12.9083 | 5.0005e-15 | 3011298158.3414
21 | 0.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 31.5746 | 3.1575e-05 | 0.0047763 | 1.3304e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 3.4732 | 14.6882 | 5.4477e-15 | 3280600616.2769
24 | 0.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 44.1099 | 4.411e-05 | 0.0047763 | 1.8586e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 4.8521 | 24.5348 | 7.611e-15 | 4583351506.7775
27 | 0.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 51.1521 | 5.1152e-05 | 0.0047763 | 2.1553e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 5.6267 | 30.9327 | 8.8266e-15 | 5315355117.7056
30 | 0.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 73.2085 | 7.3208e-05 | 0.0047763 | 3.0846e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 8.0529 | 54.8008 | 1.2635e-14 | 7608675799.711
33 | 0.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 82.1662 | 8.2166e-05 | 0.0047763 | 3.4621e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 9.0383 | 66.0958 | 1.4182e-14 | 8540405932.1505
36 | 0.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 107.6028 | 0.0001076 | 0.0047763 | 4.5338e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 11.8363 | 103.0241 | 1.8578e-14 | 11187459382.2957
39 | 0.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 132.6169 | 0.00013262 | 0.0047763 | 5.5878e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 14.5879 | 146.1407 | 2.2904e-14 | 13792715707.4819
42 | 0.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 134.1944 | 0.00013419 | 0.0047763 | 5.6543e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 14.7614 | 149.0812 | 2.3177e-14 | 13957092317.2775
45 | 0.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 161.9972 | 0.000162 | 0.0047763 | 6.8257e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 17.8197 | 205.1437 | 2.7991e-14 | 16855989101.15
48 | 0.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 181.5465 | 0.00018155 | 0.0047763 | 7.6494e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 19.9701 | 249.3023 | 3.1379e-14 | 18896495099.4128
51 | 0.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 194.9549 | 0.00019495 | 0.0047763 | 8.2144e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 21.445 | 281.8199 | 3.3705e-14 | 20297178564.4575
54 | 0.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 216.3915 | 0.00021639 | 0.0047763 | 9.1176e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 23.8031 | 337.5361 | 3.7427e-14 | 22538597971.2012
57 | 0.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 227.2648 | 0.00022726 | 0.0047763 | 9.5758e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 24.9991 | 367.5365 | 3.9317e-14 | 23676553303.9208
60 | 1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 228.9549 | 0.00022895 | 0.0047763 | 9.647e-07 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 25.185 | 372.3043 | 3.9611e-14 | 23853503584.3218
63 | 1.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 248.3634 | 0.00024836 | 0.0047763 | 1.0465e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 27.32 | 429.0616 | 4.2987e-14 | 25886806710.1484
66 | 1.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 264.7577 | 0.00026476 | 0.0047763 | 1.1156e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 29.1234 | 479.8661 | 4.5842e-14 | 27606325807.0384
69 | 1.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 255.462 | 0.00025546 | 0.0047763 | 1.0764e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 28.1008 | 450.7389 | 4.4223e-14 | 26631111080.0804
72 | 1.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 272.6732 | 0.00027267 | 0.0047763 | 1.1489e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 29.9941 | 505.328 | 4.7222e-14 | 28437222866.4235
75 | 1.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 265.3211 | 0.00026532 | 0.0047763 | 1.1179e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 29.1853 | 481.6583 | 4.5941e-14 | 27665449425.666
78 | 1.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 273.1803 | 0.00027318 | 0.0047763 | 1.151e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 30.0498 | 506.9796 | 4.7311e-14 | 28490463144.8206
81 | 1.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 279.6873 | 0.00027969 | 0.0047763 | 1.1785e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 30.7656 | 528.3959 | 4.8446e-14 | 29173882256.9002
84 | 1.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 286.307 | 0.00028631 | 0.0047763 | 1.2064e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.4938 | 550.6015 | 4.9601e-14 | 29869461542.4683
87 | 1.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 272.9549 | 0.00027295 | 0.0047763 | 1.1501e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 30.025 | 506.2452 | 4.7271e-14 | 28466800565.6363
90 | 1.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 292.5606 | 0.00029256 | 0.0047763 | 1.2327e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.1817 | 571.9655 | 5.0692e-14 | 30526870067.8499
93 | 1.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 288.2507 | 0.00028825 | 0.0047763 | 1.2145e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.7076 | 557.2015 | 4.994e-14 | 30073758883.875
96 | 1.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 289.969 | 0.00028997 | 0.0047763 | 1.2218e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.8966 | 563.0664 | 5.024e-14 | 30254393803.3214
99 | 1.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 292.5042 | 0.0002925 | 0.0047763 | 1.2325e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.1755 | 571.7714 | 5.0682e-14 | 30520946115.1161
102 | 1.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 286.5887 | 0.00028659 | 0.0047763 | 1.2075e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.5248 | 551.5558 | 4.965e-14 | 29899068056.4446
105 | 1.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 283.1521 | 0.00028315 | 0.0047763 | 1.1931e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.1467 | 539.9658 | 4.905e-14 | 29537909975.953
108 | 1.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 289.7718 | 0.00028977 | 0.0047763 | 1.221e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.8749 | 562.392 | 5.0205e-14 | 30233664047.2106
111 | 1.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 294.7296 | 0.00029473 | 0.0047763 | 1.2418e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.4203 | 579.4632 | 5.1071e-14 | 30754961115.3754
114 | 1.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 293.969 | 0.00029397 | 0.0047763 | 1.2386e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.3366 | 576.829 | 5.0938e-14 | 30674976944.42
117 | 1.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 288.1099 | 0.00028811 | 0.0047763 | 1.2139e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.6921 | 556.722 | 4.9915e-14 | 30058953752.9104
120 | 2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 297.4056 | 0.00029741 | 0.0047763 | 1.2531e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.7146 | 588.7757 | 5.1538e-14 | 31036423073.3645
123 | 2.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 285.3493 | 0.00028535 | 0.0047763 | 1.2023e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.3884 | 547.3627 | 4.9433e-14 | 29768803936.5639
126 | 2.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 288.9831 | 0.00028898 | 0.0047763 | 1.2176e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.7881 | 559.6978 | 5.0068e-14 | 30150748029.2483
129 | 2.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 298.5606 | 0.00029856 | 0.0047763 | 1.258e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.8417 | 592.816 | 5.174e-14 | 31157913609.2554
132 | 2.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 290.7296 | 0.00029073 | 0.0047763 | 1.225e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.9803 | 565.6714 | 5.0373e-14 | 30334354255.205
135 | 2.25 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 293.3775 | 0.00029338 | 0.0047763 | 1.2361e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.2715 | 574.784 | 5.0835e-14 | 30612770167.1523
138 | 2.3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 297.4901 | 0.00029749 | 0.0047763 | 1.2535e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.7239 | 589.0709 | 5.1553e-14 | 31045312266.429
141 | 2.35 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 305.0394 | 0.00030504 | 0.0047763 | 1.2853e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 33.5543 | 615.7175 | 5.2872e-14 | 31839643245.5716
144 | 2.4 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 286.0535 | 0.00028605 | 0.0047763 | 1.2053e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.4659 | 549.7433 | 4.9556e-14 | 29842816199.3858
147 | 2.45 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 294.9268 | 0.00029493 | 0.0047763 | 1.2427e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.4419 | 580.1471 | 5.1105e-14 | 30775698493.2639
150 | 2.5 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 284.5606 | 0.00028456 | 0.0047763 | 1.199e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.3017 | 544.7021 | 4.9296e-14 | 29685914697.048
153 | 2.55 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 298.8986 | 0.0002989 | 0.0047763 | 1.2594e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.8788 | 594.0009 | 5.1799e-14 | 31193473816.7892
156 | 2.6 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 293.8563 | 0.00029386 | 0.0047763 | 1.2382e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.3242 | 576.4392 | 5.0919e-14 | 30663127823.2603
159 | 2.65 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 292.3915 | 0.00029239 | 0.0047763 | 1.232e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.1631 | 571.3832 | 5.0663e-14 | 30509098283.9167
162 | 2.7 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 291.2366 | 0.00029124 | 0.0047763 | 1.2271e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.036 | 567.4112 | 5.0461e-14 | 30387663716.0184
165 | 2.75 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 303.8845 | 0.00030388 | 0.0047763 | 1.2804e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 33.4273 | 611.6057 | 5.267e-14 | 31718092838.0676
168 | 2.8 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 300.7296 | 0.00030073 | 0.0047763 | 1.2671e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 33.0803 | 600.4383 | 5.2119e-14 | 31386107412.3925
171 | 2.85 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 297.0676 | 0.00029707 | 0.0047763 | 1.2517e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.6774 | 587.5956 | 5.1479e-14 | 31000866866.0898
174 | 2.9 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 287.3211 | 0.00028732 | 0.0047763 | 1.2106e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 31.6053 | 554.0404 | 4.9778e-14 | 29976047839.9644
177 | 2.95 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 310.2225 | 0.00031022 | 0.0047763 | 1.3071e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 34.1245 | 634.3275 | 5.3778e-14 | 32385271139.315
180 | 3 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 306.1944 | 0.00030619 | 0.0047763 | 1.2901e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 33.6814 | 619.8421 | 5.3074e-14 | 31961204443.3781
183 | 3.05 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 299.6592 | 0.00029966 | 0.0047763 | 1.2626e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.9625 | 596.671 | 5.1932e-14 | 31273487605.4636
186 | 3.1 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 293.5746 | 0.00029357 | 0.0047763 | 1.237e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.2932 | 575.4653 | 5.0869e-14 | 30633505455.277
189 | 3.15 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 295.0394 | 0.00029504 | 0.0047763 | 1.2431e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.4543 | 580.538 | 5.1125e-14 | 30787548560.6166
192 | 3.2 | 20 | 29.146 | 4.8577e-07 | 21.1 | 294.1 | 101.3 | 101300 | 2.0125e-05 | 296.0535 | 0.00029605 | 0.0047763 | 1.2474e-06 | 0.002032 | 1.3731e-10 | 0.31 | 131000 | 0.0053636 | 0.1 | 110000 | 32.5659 | 584.0619 | 5.1302e-14 | 30894203660.5229
[23 empty] | 5.0935e-14 | 30673017148.4582